## Slide 1: Electromechanical 3D​ Printed Prosthetic Arm Initiative Results
Michael Arnold, Sam Boselli, Paige Durand, Talon Hanssen, Julien Illo, Jonathan Perez​
Notes: Julien

## Slide 2: Project Definition
Notes: Talon

## Slide 3: Prosthetic Affordability
Prosthetic arms are not an affordable option for all amputees
Mechanical arms are a necessity for many in their daily lives or jobs
Notes: Talon

## Slide 4: Bionic Limbs
Average cost: $20,000 to $80,000
Notes: Talon

## Slide 5: Another Option?
3D printed
Low-cost parts
Universal design
Our Goal: Combine the above elements into an easy DIY assembly
Notes: Talon

## Slide 6: Project Statement
The goal of this project is to design and create a fully 3D-printed prosthetic arm for consumers to use in their daily lives. We aim to accomplish this with a small, six-person team of KSU seniors from Senior Design 2 by May 8th, 2023.
Create a low cost, open-source, 3D printed prosthetic arm.
Notes: Talon

## Slide 7: Deliverables
Fully 3D printed and functional prosthetic arm.
Original SolidWorks models for further adjustment by later teams.
Circuit diagram outlining all connections and components.
Arduino code to fully control the arm.
All documentation created in the creation of the arm.
Notes: Talon

## Slide 8: Provided Constraints
Fully 3D printed (main body)
Force feedback
Lift an egg & and cue ball
4 points of articulation
  Elbow, Forearm, Wrist, Fingers
Cost ~$500
Notes: Talon

## Slide 9: Derived Specifications
Completely open-source model (3D printing)
Able to lift at least 3 pounds (strength for cue ball)
Easy to assemble design (ease of use)
Precise movement in all joints (dexterity for egg)
Accurate force feedback in fingers (for egg)
4 points of movement (basic requirement)
Notes: Talon

## Slide 10: Prototype design
Notes: Jon

## Slide 11: Initial Models
Notes: Jon

## Slide 12
Midway Models
Notes: Jon –Note implementation of servo mount in forearm, and refinement of further parts

## Slide 13: Final Models
Notes: Jon –Note the finger is reduced to 2 joints, the actuator slots in the hand, the servo mount has been removed from the upper forearm, and the board mounts are implemented into forearm

## Slide 14: Form of Product
Notes: Jon

## Slide 15: Form of Product
Notes: Jon

## Slide 16: Technical Choices
Finger movement
  Actuators vs Servos
Notes: Julien

## Slide 17: Technical Choices
Pressure Sensing
  External Sensor vs Integrated
Max 2kg range
Notes: Julien

## Slide 18: Technical Choices
Arm Movement
  Strength and Size
19.2N
24.5kgcm @ 6.8V
Notes: Julien

## Slide 19: Technical Choices
Elbow Movement
  Strength and Material
  25kg servo
    24.5kgcm @ 6.8V
  Arm requires ~12.1kgcm
~7 inches
~1.5 lbs
Centroid
Notes: Julien

## Slide 20: Technical Choices
Power
  All components are 12V or 6V
  Battery vs Power supply
  Buck converters
  Electronics not optimized
Notes: Julien

## Slide 21: Function of Product (wiring)
Notes: Julien

## Slide 22: Function of Product (code)
Hand Control
Arm Control
Notes: Julien

## Slide 23: Function of Product (code)
Cue ball Grab
Egg Grab
To button loop
Notes: Julien

## Slide 24: Function of Product (Hand)
Linear actuators contract and push fingers out using a stiff plastic cord
Pressure sensors in between actuator and hand body read force of actuator
Thumb rotates independently via a long servo
Notes: Sam

## Slide 25: Function of Product (Arm)
Linear actuator extends and contracts to tilt the wrist joint
Servo in lower forearm rotates to turn the upper forearm
Notes: Julien

## Slide 26: Function of Product (Elbow)
Servo wired through lower forearm
Simple 2-gear design
~2:1 gear ratio
Enclosed housing
Needs stronger gears
Notes: Talon

## Slide 27: Manufacturability & Assembly
Print in Place Fingers
All printed in PLA – readily available and cheap
Snap in place halves
Slide in components
Scalable to hand dimensions
Notes: Michael

## Slide 28: Assumptions
No final control system
Dimensions will be provided for prototype
Electronic PCB sold as a single unit
Future groups would finalize design
Notes: Michael

## Slide 29: Validation of Specifications
4 points of Articulation
Instant pressure feedback
Realistic shape and size
Easy to assemble
Notes: Michael

## Slide 30: Prosthetic Standards
WHO ISO
World Health Organization Standards for Prosthetics
  Covers general practices for quality/safety/manufacturing
International Organization for Standardization
  Specific design specifications and testing practices
Notes: Paige

## Slide 31: Supporting Material
Notes: Paige

## Slide 32: Ethical/Safety considerations
VOCs produced during 3D printing process can cause dizziness, headaches, and nausea
Cleaning solvents used for 3D printers can be eye, skin, and lung irritants
Minimal risk of electrocution due to electrical components
Notes: Paige

## Slide 33: Bill of Materials
Number | Part | Description | Quantity
1 | Finger Long | Longer version of finger for Ring and middle fingers | 2
2 | Finger Short | Shorter Version of finger for pointer and pinky fingers | 2
3 | Finger Pin | Pin to connect fingers to hand | 4
4 | Thumb | Thumb piece with move for servo | 1
5 | Thumb Block | Holds the thumb in place | 1
6 | Block Wide | Holds the thumb in place | 1
7 | Finger Triangle | Fits into back of fingertips to hold the cables in place | 4
8 | Hand | Hand piece holds hardware for finger movement | 1
Notes: Paige

## Slide 34: Bill of Materials cont'd
Number | Part | Description | Quantity
9 | Hand Top | Lid for the hand hold everything in place | 1
10 | Hand Divider | Put into the hand piece to split apart mechanical movements and wiring | 1
11 | Finger Slide | Attaches the linear actuators to the cables that move the fingers | 2
12 | Wrist Joint | Connects the hand to forearm with passthrough for wires and mount for linear actuator that provides wrist movement. | 1
13 | Upper Forearm Male | Upper forearm outer shell | 1
14 | Upper Forearm Female | Upper forearm outer shell | 1
15 | Lower Forearm Male | Lower forearm outer shell | 1
16 | Upper Forearm Female | Lower forearm outer shell | 1
Notes: Paige

## Slide 35: Bill of Materials cont'd
Number | Part | Description | Quantity
17 | Elbow Base | Structure of elbow that can be mounted to something else | 1
18 | Elbow Gear | Gear to transfer rotation from servo to elbow | 1
19 | Forearm Gear | Gear to transfer rotation from servo to forearm | 1
20 | Actuator Pin | Pin to attach actuator to the wrist joint | 1
21 | Linear Actuator (Hand) | 100:1, PQ12-R, 6V actuator pulls the wire attached to fingers to open and close fingers | 2
22 | Servo Motor (Thumb) | MG90S, 9g Micro servo to rotate thumb | 1
23 | Linear Actuator (Wrist) | 0.8in (21mm) stroke length, moves the wrist up and down | 1
24 | Servo Motor (Elbow) | 25Kg, 270deg digital servo to rotate elbow | 1
Notes: Paige

## Slide 36: Bill of Materials cont'd
Number | Part | Description | Quantity
25 | Servo Motor (Forearm) | 25Kg, 270deg digital servo to rotate forearm | 1
26 | PCB Board Kit | Prototype kit to build a custom PCB board for connections | 1
27 | 1kg Filament Roll | PLA filament to print 3D components | 1
28 | 12V Power Supply | 12V DC, 5 Amp power supply to plug into arm and wall | 1
29 | Hanging Wire | 15ft invisible hanging wire to attach finger joints to the hand linear actuators | 1
30 | Grip Tape | 2in, 23ft anti-slip tape for fingertips | 1
31 | ESP32 | 36 pin, controls the electrical components of the arm | 1
32 | H-Bridge | Helps with converting the DC current | 1
Notes: Paige

## Slide 37: Gantt Chart
Notes: Michael

## Slide 38: Initial Cost Estimate
Item | Cost
PLA Filament | $25.00
Actuonix Linear Actuators X 3 | $195.00
Servos X 2 | $68.00
Arduino Mega Controller | $20.00
Pressure Sensors X 2 | $14.40
General Linear Actuator | $29.00
Misc. Hardware | $20.00
Total | $371.40
Notes: Michael

## Slide 39: Final Costs
Item | Quantity | Unit Cost | Total Cost
Finger Actuators | 2 | $70.00 | $140.00
Thumb Servo | 1 | $10.99 | $10.99
Wrist Actuator | 1 | $28.99 | $28.99
Elbow Servo | 1 | $16.50 | $16.50
Forearm Servo | 1 | $16.50 | $16.50
PCB Board Kit | 1 | $15.99 | $15.99
1kg PLA Filament | 1 | $19.99 | $19.99
12V Power Supply | 1 | $11.99 | $11.99
Hanging Wire | 1 | $2.89 | $2.89
Grip Tape Roll | 1 | $7.85 | $7.85
ESP32 (36 pin) | 1 | $10.99 | $10.99
H-Bridge (SN754410NE) | 1 | $2.91 | $2.91
Total |  |  | $285.59
Notes: Michael –mention that Elbow & Forearm servos were a 2 pack, and PCB board kit includes wires and solder

## Slide 40: Proof of specifications
Demonstration of movement, articulation, and pressure sensing
Notes: Live demonstrations

## Slide 41: Notes For Next Design
Test different cable options
Rework snap fit design for ease of assembly
Electrical management & optimization
Non-electromechanical elbow design
Notes: Talon

## Slide 42: Questions?